## Sheet1
Standard implantology equipment, instruments and consumables
Patient assessment stage
Item | Use | Our usual suppplier/producer | Notes
Standard examination kit | Examination of patient | Any
Impression trays | Study casts | Coltene President Trays
Impression material (silicone of choice) | Study casts | Any
Impression registration paste | ICP and CRCP registrations | Blu Mousse
Facebow & jig | Articulation of casts | Prestige dental
Tooth exatractions
Item | Use | Suppplier | Notes
Standard extraction forceps | Final delivery of tooth | Any
Removable blade periotome | Start of atraumatic extraction | General Medical
Witzel root forceps | Removal of root fragments | General Medical
Luxators | Final luxation of tooth | General Medical
Couplands | Assist luxation | General Medical
Implant surgery
Item | Use | Suppplier | Notes
Osseoset motor | Power handpiece | Nobel Biocare
Implant handpiece and cabling | To hoild drills and connect to power unit | Nobel Biocare
Nobel Replace Tapered CC Surgical drill set | To prepare osteotomy sites | Nobel Biocare
Buser periosteal elevator | Lift papilla and commence flap refelection | General Medical
Molt periosteal elevator | Complete flap reflection | General Medical
Atraumatic tissue forceps | To hold flap without damaging soft tissue | General Medical | Do not use rat-tooth forceps
Needle holders | To hold suture needle | General Medical | We use Crile Wood 150mm
Sutures | To close flap | 4/0 Monocryl or Cytoplast PTFE | 4/0 or 3/0
Sutures scissors | To cut sutures | General Medical
Tissue flap retractor | Helps aid in visualisation of surgical field | General Medical
Lucas currette | Currettage of any granulation tissue or cystic tissue | General Medical
No 15 scalpel | Initial incision of flap | Any | Try to use retractable blade systems such as Swann-Morton disposable retractable
Implants | Obvious! | Nobel Biocare | Size and platform depends on case - Nobel Biocare Replace Tapered Groovy system is used on the course
Sterile saline bag | Drill coolant | General Medical
Water delivery tubing | Delivery of coolant | Nobel Biocare
Healing abutments | To avoid need for second stage exposure surgery | Nobel Biocare | Size depends on implant diameter and soft tissue height - see catalogue and/or Nobel Biocare rep
Impression stage
Item | Use | Suppplier | Notes
Nobel Replace Tapered CC Prosthetic kit | Removal of healing abutment and placement of impression coping | Nobel Biocare
Facebow & jig | For articulation of working casts (mandatory for implantology) | Prestige dental
Rigid impression trays | For accurate distortion-free impressions | Coltene President rigid plastic trays
Soft silicone impression material | For opposing arch impression | Elite HD Fgast set
Impregum Penta | For working impression of implant impression coping | 3M Espe
Pentamix machine | To mix Impregum reliably and predicatbly | 3M Espe
Polyether adhesive | Adhesion of Impregum to tray | 3M Espe
Occlusal registration paste | Occlusal registrations | Blu Mousse
Shade guide | For shade assessment | Your preference
Impression coping | Working cast preparation | Nobel Biocare | Can be open tray or closed tray, depending on case. Platform depends on case - - see catalogue and/or Nobel Biocare rep
Endodontic syringe filled with chlorhexidine | To disinfect implant after removal of healing abutment | Any
Paper points | To dry lumen of implant after chlorhexidine wash | Any
Final fit stage
Item | Use | Suppplier | Notes
Nobel Replace Tapered CC Prosthetic kit | Removal of healing abutment and placement of abutment/screw retained crown | Nobel Biocare
Implant cement | To cement crown onto abutment | Swallow Dental Supplies | We use Premier Implant Cement
Sharp sickle scaler | To remove excess submucosal cement | Any
Sharp probe | To remove excess submucosal cement | Any
Periodonral probe | Check for any retained cement before discharge | Any